## Equipment
Urgently needeed equipment | Quantity
ICU & ER
Spot Monitors | 20
Transport Monitors | 15
ICU Monitors | 20
Central Stations | 3
Defibrillators | 8
EKG | 5
Infusion pumps | 50
Feeding pumps | 20
Ventilators | 20
High Flow systems | 10
Video Laryngoscopes for Intubation | 2
Sequential Compression Devices (SCD) | 20
Ultrasound for ICU | 1
Electrical Beds | 15
Stretchers | 20
Wheelchairs | 20
Blood Gas Analyzer | 2
Blood Warmer | 5
Medical Laptop/notebook carts (Medical trolleys for laptops) | 15
Plasmair decontamination system | 1
PCR Lab
Automatic Extractor for Covid 19 | 1
Real Time PCR for Covid 19 | 1
Central Lab
HPLC analyzer | 1
Electrolytes analyzer | 1
HB electrophoresis | 1
Urine analyzer | 1
Centrifuges | 3
Fridges for blood | 2
Spectrophotometer | 1
Microscopes for hematology | 2
Anesthesia / OR / CSSD
Anesthesia machines | 5
Ultrasound with TEE | 1
4K Surgical Tower | 2
Steam Sterilizer | 1
Ultrasonic Machines | 2
Endoscopy and GI Unit
Endoscopy Tower with 2 colonoscopes and 2 gastroscopes | 1
pH metry | 1
Esophageal manometry | 1
Anorectal manometry | 1
Drying Cabinets | 2
Automatic Endoscope Washer with 3 wash carts | 1
Hemodialysis
Dialysis Machines | 5
Ambulance Vehicle | 1
Stretchers | 2
Ventilator | 1
Lifepack with NIBP/SpO2/Defibrillator/ EKG electrodes | 1
CPR- Board | 1
Portable Suction Unit with 3 sets | 1
Pulse Oxymeter | 1
Kendrick Extrication Device KED | 1
Head immobilizer | 1
Vacuum Mattress | 1
SAM and Air Splints | 1
Laryngoscopes | 2
Field Hospital
First Aid Hospital tent | 1
Portable Ventilator | 1
Portable Suction Unit | 2
Monitors | 5
Defibrillators | 1
Pulse Oxymeter | 2
Stretchers | 5
Spot Monitors | 2
Helipad
Stretchers | 2
Transport Monitor | 1
Lifepack with NIBP/SpO2/Defibrillator/ EKG electrodes | 1

## Spare Parts
Brand | Unit | Item description | Part Number | Quantity
Heine | Retinoscope | Batteries | Heine X-02.88.089 | 5
Heine | AxioLab Headlight | Batteries | Heine X-04.88.068 | 5
Heine | Headlight | Lamp | Heine XHL # 111 (6V) | 5
Heine | Ophthalmoscope lamp | Battery | 3.5V NIMH X-02.99.382 | 3
Keeler | Indirect ophthamoscope | Lamp | 1012-P-7003 | 6
Stryker | Cast Cutter | Blade type 1 | HB8896-02 | 10
Stryker | Cast Cutter | Blade type 2 | 0940-023-000 | 5
Zeiss | Microscope Pentero | Xenon Lamp |  | 5
Zeiss | Microscope Vario | Xenon Lamp |  | 5
Zeiss | Microscope Lumera | XENON-short arc lamp XBO R 180W/45 | 000000-0407-309 | 5
Storz | Light Source | XENON Spare Lamp, 300 W, 15 V | 20133028 | 10
GE | Anesthesia Machine | D-Fend Pro Water trap. Dark | DO-M1182629U | 50
GE | Anesthesia Machine | Flow sensor | MH-2089610-001 | 50
GE | Anesthesia Machine | O2 cell | MH-M-10 | 50
GE | Anesthesia Machine | Cable O2 cell | DO-1009-5570-000 | 10
GE | Anesthesia Machine | hook breathing circuit | OP-OPM | 5
GE | Anesthesia Machine | Air Pipeline assy | DO-1505-8595-000 | 2
GE | Anesthesia Machine | Valve Flow Control | DO-1505-3209-000 | 2
GE | Anesthesia Machine | Heat Sync Sensor | DO-2081533-001 | 3
GE | Anesthesia Machine | Exhalation valve assy | DO-1505-8568-000 | 5
GE | Anesthesia Machine | Fan Filter | DO-M1220155U | 50
GE | Anesthesia Machine | Electro Sensor M-NMT | DO-888416 | 5
GE | Incubator | Airfilter |  | 2
GE | Incubator | Environmental sensor assy | MH-2075908-001 | 3
GE | Incubator | Power Supply Giraffe | MH-2081522-001 | 5
GE | Monitor B650 | Power Supply | MH-2104122-001 | 10
GE | Monitor B650 | IF cable SpO2 nellcor oximax | MH-2021406-001 | 10
Cardinal Health | SCD | Tubing Set | 9528 | 20
Conmed | ElectroSurgical Units | Front Bezel system 5000 | 62-6210-001 | 10
Conmed | ElectroSurgical Units | on / off switch | 62-6341-001 | 10
Conmed | ElectroSurgical Units | Retainer | 62-6213-001 | 10
Conmed | ElectroSurgical Units | Harness | 61-6606-001 | 10
Conmed | ElectroSurgical Units | Pins | 62-6215-001 | 10
Conmed | ElectroSurgical Units | A2 display board system 5000 | 61-6411-001 | 10
Conmed | ElectroSurgical Units | A3 display board system 5000 | 61-6415-003 | 10
Conmed | ElectroSurgical Units |  |  | 10
Conmed | ElectroSurgical Units | power supply | 62-4065-001 | 10
Conmed | ElectroSurgical Units | Footswitch nonpolar | 60-6700-001 | 10
Conmed | ElectroSurgical Units | Footswitch Bipolar | 60-5103-001 | 10
Conmed | ElectroSurgical Units | hyfrecator hand switch autoclavable | 7-900-5 | 10
Conmed | Smoke Evacuator | Filter | 60-8084-001 | 5
Dr. Mach | Surgical Light System | Complete Video Receptacle | 46006060 | 5
Dr. Mach |  | Handle for surgical Light | 21150002
Dr. Mach |  | power supply for surgical light | 9300 0099 07
EMS | Lithoclast HP | PN3 pneumatic handpiece kit | FR-089 | 1
EMS | Ultrasound HP | Ultrasound Handpiece Kit | FR-142 | 1
Melag | Autoclave | PM Kit | 70010 | 2
Melag | Autoclave | Door Gasket | 45160 | 2
AirinSpace | Plasmair | Module 1 | CP1015 | 2
AirinSpace | Plasmair | Module 2 | CP1016 | 2
AirinSpace | Plasmair | Module 3 | CP1017 | 2
AirinSpace | Plasmair | Module 4 | CP1018 | 4
AirinSpace | Plasmair | Prefilter | CP04237 | 4
AirinSpace | Plasmair | Collector Long Life PTFE | CP01056 | 1
Becton Dickinson | Infusion pump Alaris | Alaris GP Door Lever Kit | 1000-SP-01245 | 20
Becton Dickinson | Infusion pump Alaris | Alaris GP Rear Case Kit | 1000-SP-01250 | 20
Becton Dickinson | Infusion pump Alaris | Keypad GP | 1000-LB-01534 | 20
Becton Dickinson | Infusion pump Alaris | Arsena LVP Handle ret. Block | 1000-ME-00632 | 100
Philips | EKG TC30 | Chest Lead Set | 989803151671 | 50
Philips | EKG TC30 | Limb Lead Set | 989803151711 | 50
Philips | EKG TC30 | Batteries for TC30 | 989803194541 | 10
Philips | EKG TC30 | Plast Display housing | 453564201831 | 5
Philips | EKG TC30 | Plast Display Bezel Bench | 453564201821 | 5
Philips | EKG TC30 | PCA Display | 453564295141 | 5
Philips | Defibrillator | Electrode Paddles - Gray | M4759A | 10
Philips | Defibrillator | Printer Door Kit | 453564031201 | 10
Philips | Defibrillator | Battery | M3516A | 10
Philips | Defibrillator | DFM100 ASSY Capacitance | 453564489001 | 2
Philips | Fetal Monitor Avalon FM30 | Reusable Abdominal leg/belt | M1562B | 2
Philips | Fetal Monitor Avalon FM30 | Display Flex Cable | 453564180891 | 2
HillRom | Electric Bed | Gas Spring | 4619101 | 50
HillRom | Electric Bed | PCB assembly 230V PSMB | 201137 | 10
HillRom | Electric Bed | Siderail control kit | HR900B41011 | 10
HillRom | Electric Bed | Angle Pivoting Lifting Pole | AD811A-MM | 10
Guerbet | Optivantage Injector | Motor optivantage | 223764 | 2
Stockert | Heart Lung | Pump cover small | 10-86-45 | 3
Stockert | Heart Lung | Pump cover large | 10-81-75 | 3
Drager | Respirator Drager | Spirolog Sensor | 8403735 | 100
Drager | Respirator Drager | Flow Sensor Insert | 8410179 | 20
Drager | Respirator Drager | Neonatal Flow Sensor | 8411130 | 20
Drager | Respirator Drager | Oxygen sensor | 6850930 | 10
Drager | Respirator Drager | Pneum Housing Oxylog | 5705503 | 1
Drager | Respirator Drager | Front Housing Oxylog | 5705502 | 1
Drager | Respirator Drager | Marking Stickers US | 5705212 | 1
Drager | Respirator Drager | Insert str. Ox3k pls | 5705171 | 1
Zeiss | Microscope | Halogen lamp 55147 HLWS5-A 6V 25W | 000000-0213-144 | 10
Maquet | OR table | Table top |  | 7
Maquet | OR table | Keypads |  | 5
Maquet | OR table | Potentiometer for height | 31139754 | 5
Maquet | OR table | Hydraulic Cylinder | 5202443 | 5
Maquet | OR table | Controller Board | 9702073 | 5
Maquet | OR table | Cable Connected Remote Control | 113290J0 | 5
Maquet | OR table | Cable Connected Remote Control | 111890J0 | 5
Maquet | Servo U ventilator | Expiratory valve | 6693752 | 5
Welch Allyn | Spot Monitor | Temperature probe for 42NTB | 02678-100 | 50
Welch Allyn | Spot Monitor | Temperature probe for 71WT | 02895-000 | 50
Welch Allyn | Spot Monitor | Front cover for 42NTB | 421049-502 | 10
Welch Allyn | Spot Monitor | Battery Door - WA Back Cover | 421042 | 10
Welch Allyn | Spot Monitor | Back Housing for Spot | 707508 | 5
Welch Allyn | Spot Monitor | Pod temperature for 42NTB | 421044 | 10
Welch Allyn | Spot Monitor | Rear cover for 42NTB | 421040-1 | 10
Welch Allyn | Digital Thermometer | Rectal probe for SureTemp | 02892-000 | 50
Welch Allyn | Digital Thermometer | Axiliary probe for SureTemp | 02891-000 | 50
Welch Allyn | Ophthalmoscope | WA 3.5V battery | AW72300 | 5
Welch Allyn | Ophthalmoscope | WA battery | 72000 | 5
Welch Allyn | Spot Monitor | SpO2 Sensor Extension | AWDEC-4 | 50
Welch Allyn | Otoscope/Muscle Light | Lamp | AW 03100 | 5
Welch Allyn | NICU ophthalmoscope | Lamp | AW 03900 | 5
Welch Allyn | Spot Monitor | CUFF Child Durable | AWREUSE-09 | 20
Welch Allyn | Spot Monitor | CUFF Adult Durable | AWREUSE-11 | 100
Welch Allyn | Spot Monitor | CUFF Large Adult Durable | AWREUSE-12 | 100
Welch Allyn | Spot Monitor | Durasensor Adult | AWDS - 100A | 100
B-Braun | Dialog + | Level sensor complete | 34560459 | 2
B-Braun | Dialog + | Motor for gear pump | 34560718 | 3
B-Braun | Dialog + | Gear pump | 34560319 | 10
B-Braun | Dialog + | Motor fpr piston pump | 34560556 | 5
B-Braun | Dialog + | Pump body for piston pump | 34560602 | 60
B-Braun | Dialog + | Power board valves | 34560769 | 5
B-Braun | Dialog + | Digital board | 34560740 | 5
B-Braun | Dialog + | Power board motor | 34560750 | 2
B-Braun | Dialog + | Analog board | 34560734 | 5
B-Braun | Dialog + | Mother board LX800 | 34560610 | 1
B-Braun | Dialog + | Switch mode power supply microcontroller version 5 | 34560220 | 8
B-Braun | Dialog + | Cover complete | 3451415A | 20
B-Braun | Dialog + | Cover for blood pump | 3451669E | 10
B-Braun | Dialog + | Manometer connector red | 3451833A | 20
B-Braun | Dialog + | Manometer connector blue | 3451884A | 20
B-Braun | Dialog + | Single tubing holder | 34570543 | 60
B-Braun | Dialog + | Single holder small | 34570527 | 40
B-Braun | Dialog + | Roller 8x12 for blood pump | 34560807 | 20
B-Braun | Dialog + | Valve block level regulation (single pump) | 34560815 | 10
B-Braun | Dialog + | Valve block level regulation (double pump) | 34560831 | 2
B-Braun | Dialog + | Male connector blue with O-rings | 3451475A | 10
B-Braun | Dialog + | Male connector red with O-rings | 3451476A | 10
B-Braun | Dialog + | Dialyzer coupling red | 3451445A | 10
B-Braun | Dialog + | Dialyzer coupling blue | 3451446A | 10
B-Braun | Dialog + | Pressure spring | 34517332 | 20
B-Braun | Dialog + | Pressure sensor | 34561242 | 20
B-Braun | Dialog + | Front panel board | 3451428A | 5
B-Braun | Dialog + | Housing top/bottom | 34562079 | 10
B-Braun | Dialog + | ABPM module | 7102226 | 10
B-Braun | Dialog + | Membrane for balance chamber | 3451615A | 20
Medtronic | Pacemaker | Cables 5433V | 3004RPC0006 | 4
Nuova | Respirator Drager | Oxygen sensor | E-15/2 | 10
Nuova | Anesthesia GE | Oxygen sensor | E15/4 | 20
Nuova | Patient Monitor | ECG Trunk Cable | UTC309 | 2
Nuova | Patient Monitor | Set of 6 Leadwires | UNK690PI | 2
Nuova | GE Monitor | UCG Trunk | UTC586 | 20
Nuova | GE Monitor | Set of 5 Leadwires | UMQ590CI | 20
Nuova | GE Monitor | SPO2 Nellcor oximax | SC-1033O | 20
Nuova | GE Monitor | SPO2 Nellcor Oximax (sensor) | N65 | 40
Nuova | GE Monitor | NIBP Cuffs Without Bladder | N-CA104/0 | 40
Nuova | GE Monitor | NIBP Cuffs Without Bladder | N-CA104/1 | 40
Nuova | GE Monitor | SPO2 TruSignal | TS-FD | 10
Nuova | GE Monitor | NIBP pressure hose | QM-0236-14 | 5
Nuova | GE Monitor | Medical O2 sensor | E75/13PB | 4
Nuova | GE Monitor | Connector for cuff | BP47 | 20
Nuova | GE Monitor | Double tube | BP44 | 20
Nuova | GE Monitor | Nellcor oxiMax | SC-1011D | 10
Nuova | GE Monitor | Nellcor oxiMax | SC-1011ES | 20